AUTOMATIC POWER FACTOR CORRECTOR USING CAPACITIVE LOAD BANK

- INTRODUCTION

  - INTRODUCTION:

An embedded system is a combination of software and hardware to perform a dedicated task. Some of the main devices used in embedded products are Microprocessors and Microcontrollers. Microprocessors are commonly referred to as general purpose processors as they simply accept the inputs, process it and give the output. In contrast, a microcontroller not only accepts the data as inputs but also manipulates it, interfaces the data with various devices, controls the data and thus finally gives the result.

1.2 PROBLEM FORMULATION:

All these tasks are possible with the microcontroller because the microcontroller has a CPU in addition to a fixed amount of RAM, ROM, I/O ports and timer all on a single chip. This fixed amount of RAM, ROM and number of I/O ports in microcontroller makes them ideal for many applications where cost and space are critical.

1.3. LITERATURE SURVEY:

The automated power factor corrector using capacitive load banks is helpful in providing the power factor correction without manual capacitive bank loading. Earlier the power factor correction is done by manually adjusting the capacitive bank manually. Now the automated project we have done helps us to decrease the manpower and thus helps to decrease the time taken to correct the power factor which helps to increase the efficiency.

1.4OBJECTIVE OF THESIS:

This project provides continuous power factor correction without manual capacitive bank loading. A PFC controller provides power factor correction and peak current limiting for a Switch-mode power converter of any topology (buck, boost or buck-boost), without having to directly sense inductor current.

1.4 ORGANIZATION OF THESIS:

In this paper we are discussed about some of the important issues in different chapters like:

Chapter 2:  In this chapter we discussed about the  Embedded Systems.

Chapter 3:  In this 3rd chapter functions have been discussed in detail about Micro controllers .

Chapter 4:   In this chapter we are going to discuss about Programming the Flash.

Chapter 5:  In this chapter we are going to discuss about Automatic Power factor Controller.

Chapter 6:   In this chapter we discussed about the Component Specifications.

Chapter 7: In this chapter we discussed about the Load Banks.

Chapter 8: Conclusion and future scope utilities have been mentioned in this final chapter          proceeded with required references.

2. EMBEDDED SYSTEMS

2.1 INTRODUCTION TO EMBEDDED SYSTEMS:

An embedded system can be defined as a computing device that does a specific focused job. Appliances such as the air-conditioner, VCD player, DVD player, printer, fax machine, mobile phone etc. are examples of embedded systems. Each of these appliances will have a processor and special hardware to meet the specific requirement of the application along with the embedded software that is executed by the processor for meeting that specific requirement. The embedded software is also called “firm ware”. The desktop/laptop computer is a general purpose computer. You can use it for a variety of applications such as playing games, word processing, accounting, software development and so on. In contrast, the software in the embedded systems is always fixed listed below:

- Embedded systems do a very specific task, they cannot be programmed to do different things. Embedded systems have very limited resources, particularly the memory. Generally, they do not have secondary storage devices such as the CDROM or the floppy disk. Embedded systems have to work against some deadlines. A specific job has to be completed within a specific time. In some embedded systems, called real-time systems, the deadlines are stringent. Missing a deadline may cause a catastrophe-loss of life or damage to property. Embedded systems are constrained for power. As many embedded systems operate through a battery, the power consumption has to be very low.

- Some embedded systems have to operate in extreme environmental conditions such as very high temperatures and humidity.

2.2 APPLICATION AREAS:

Nearly 99 per cent of the processors manufactured end up in embedded systems. The embedded system market is one of the highest growth areas as these systems are used in very market segment- consumer electronics, office automation, industrial automation, biomedical engineering, wireless communication, data communication, telecommunications, transportation, military and so on.

2.2.1 Consumer Appliances:

At home we use a number of embedded systems which include digital camera, digital diary, DVD player, electronic toys, microwave oven, remote controls for TV and air-conditioner, VCO player, video game consoles, video recorders etc. Today’s high-tech car has about 20 embedded systems for transmission control, engine spark control, air-conditioning, navigation etc. Even wristwatches are now becoming embedded systems. The palmtops are powerful embedded systems using which we can carry out many general-purpose tasks such as playing games and word processing.

2.2.2 Office Automation:

The office automation products using embedded systems are copying machine, fax machine, key telephone, modem, printer, scanner etc.

2.2.3 Industrial Automation:

Today a lot of industries use embedded systems for process control. These include pharmaceutical, cement, sugar, oil exploration, nuclear energy, electricity generation and transmission. The embedded systems for industrial use are designed to carry out specific tasks such as monitoring the temperature, pressure, humidity, voltage, current etc., and then take appropriate action based on the monitored levels to control other devices or to send information to a centralized monitoring station. In hazardous industrial environment, where human presence has to be avoided, robots are used, which are programmed to do specific jobs. The robots are now becoming very powerful and carry out many interesting and complicated tasks such as hardware assembly.

2.2.4 Medical Electronics:

Almost every medical equipment in the hospital is an embedded system. These equipments include diagnostic aids such as ECG, EEG, blood pressure measuring devices, X-ray scanners; equipment used in blood analysis, radiation, colonoscopy, endoscope etc. Developments in medical electronics have paved way for more accurate diagnosis of diseases.

2.2.5 Computer Networking:

Computer networking products such as bridges, routers, Integrated Services Digital Networks (ISDN), Asynchronous Transfer Mode (ATM), X.25 and frame relay switches are embedded systems which implement the necessary data communication protocols. For example, a router interconnects two networks. The two networks may be running different protocol stacks. The router’s function is to obtain the data packets from incoming pores, analyze the packets and send them towards the destination after doing necessary protocol conversion. Most networking equipments, other than the end systems (desktop computers) we use to access the networks, are embedded systems.

2.2.6 Telecommunications:

In the field of telecommunications, the embedded systems can be categorized as subscriber terminals and network equipment. The subscriber terminals such as key telephones, ISDN phones, terminal adapters, web cameras are embedded systems. The network equipment includes multiplexers, multiple access systems, Packet Assemblers Dissemblers (PADs), sate11ite modems etc. IP phone, IP gateway, IP gatekeeper etc. are the latest embedded systems that provide very low-cost voice communication over the Internet.

2.2.7 Wireless Technologies:

Advances in mobile communications are paving way for many interesting applications using embedded systems. The mobile phone is one of the marvels of the last decade of the 20th century. It is a very powerful embedded system that provides voice communication while we are on the move. The Personal Digital Assistants and the palmtops can now be used to access multimedia services over the Internet. Mobile communication infrastructure such as base station controllers, mobile switching centers are also powerful embedded systems.

2.2.8 Insemination:

Testing and measurement are the fundamental requirements in all scientific and engineering activities. The measuring equipment we use in laboratories to measure parameters such as weight, temperature, pressure, humidity, voltage, current etc. are all embedded systems. Test equipment such as oscilloscope, spectrum analyzer, logic analyzer, protocol analyzer, radio communication test set etc. are embedded systems built around powerful processors. Thank to miniaturization, the test and measuring equipment are now  becoming portable facilitating easy testing and measurement in the field by field-personnel.

2.2.9 Security:

Security of persons and information has always been a major issue. We need to protect our homes and offices; and also the information we transmit and store. Developing embedded systems for security applications is one of the most lucrative businesses nowadays. Security devices at homes, offices, airports etc. for authentication and verification are embedded systems. Encryption devices are nearly 99 per cent of the processors that are manufactured end up in~ embedded systems. Embedded systems find applications in every industrial segment- consumer electronics, transportation, avionics, biomedical engineering, manufacturing, process control and industrial automation, data communication, telecommunication, defense, security etc. Used to encrypt the data/voice being transmitted on communication links such as telephone lines. Biometric systems using fingerprint and face recognition are now being extensively used for user authentication in banking applications as well as for access control in high security buildings.

2.2.10 Finance:

Financial dealing through cash and cheques are now slowly paving way for transactions using smart cards and ATM (Automatic Teller Machine, also expanded as Any Time Money) machines. Smart card, of the size of a credit card, has a small micro-controller and memory; and it interacts with the smart card reader. ATM machine and acts as an electronic wallet. Smart card technology has the capability of ushering in a cashless society. Well, the list goes on. It is no exaggeration to say that eyes wherever you go, you can see, or at least feel, the work of an embedded system.

2.3 OVER VIEW OF EMBEDDED SYSTEM ARCHITECTURE:

Every embedded system consists of custom-built hardware built around a Central Processing Unit (CPU). This hardware also contains memory chips onto which the software is

Fig: 2.1 Architecture can be represented as a layered architecture

loaded. The software residing on the memory chip is also called the ‘firmware’. The operating system runs above the hardware, and the application software runs above the operating system. The same architecture is applicable to any computer including a desktop computer. However, there are significant differences. It is not compulsory to have an operating system in every embedded system. For small appliances such as remote control units, air conditioners, toys etc., there is no need for an operating system and you can write only the software specific to that application. For applications involving complex processing, it is advisable to have an operating system. In such a case, you need to integrate the application software with the operating system and then transfer the entire software on to the memory chip. Once the software is transferred to the memory chip, the software will continue to run for a long time you don’t need to reload new software.  now, let us see the details of the various building blocks of the hardware of an embedded system. As shown in Fig. the building blocks are:

- Central Processing Unit (CPU)

- Memory (Read-only Memory and Random Access Memory)

- Input Devices

- Output devices

- Communication interfaces

Fig: 2.2 Hardware of an embedded system

2.3.1 Central Processing Unit (CPU):

The Central Processing Unit (processor, in short) can be any of the following: microcontroller, microprocessor or Digital Signal Processor (DSP). A micro-controller is a low-cost processor. Its main attraction is that on the chip itself, there will be many other components such as memory, serial communication interface, analog-to digital converter etc. So, for small applications, a micro-controller is the best choice as the number of external components required will be very less. On the other hand, microprocessors are more powerful, but you need to use many external components with them. D5P is used mainly for applications in which signal processing is involved such as audio and video processing.

2.3.2 Memory:

The memory is categorized as Random Access 11emory (RAM) and Read Only Memory (ROM). The contents of the RAM will be erased if power is switched off to the chip, whereas ROM retains the contents even if the power is switched off. So, the firmware is stored in the ROM. When power is switched on, the processor reads the ROM; the program is program is executed.

2.3.3 Input Devices:

Unlike the desktops, the input devices to an embedded system have very limited capability. There will be no keyboard or a mouse, and hence interacting with the embedded system is no easy task. Many embedded systems will have a small keypad-you press one key to give a specific command. A keypad may be used to input only the digits. Many embedded systems used in process control do not have any input device for user interaction; they take inputs from sensors or transducers 1’fnd produce electrical signals that are in turn fed to other systems.

2.3.4 Output Devices:

The output devices of the embedded systems also have very limited capability. Some embedded systems will have a few Light Emitting Diodes (LEDs) to indicate the health status of the system modules, or for visual indication of alarms. A small Liquid Crystal Display (LCD) may also be used to display some important parameters.

2.3.5 Communication Interfaces:

The embedded systems may need to, interact with other embedded systems at they may have to transmit data to a desktop. To facilitate this, the embedded systems are provided with one or a few communication interfaces such as RS232, RS422, RS485, Universal Serial Bus (USB), and IEEE 1394, Ethernet etc.

2.3.6 Application-Specific Circuitry:

Sensors, transducers, special processing and control circuitry may be required fat an embedded system, depending on its application. This circuitry interacts with the processor to carry out the necessary work. The entire hardware has to be given power supply either through the 230 volts main supply or through a battery. The hardware has to design in such a way that the power consumption is minimized.

2.4 Summary:

By close observation about this chapter we have discussed about the Embedded Systems and their application in this project.

3. MICRO CONTROLLERS

3.1 INTRODUCTION:

Microprocessors and microcontrollers are widely used in embedded systems products. Microcontroller is a programmable device. A microcontroller has a CPU in addition to a fixed amount of RAM, ROM, I/O ports and a timer embedded all on a single chip. The fixed amount of on-chip ROM, RAM and number of I/O ports in microcontrollers makes them ideal for many applications in which cost and space are critical.

The Intel 8051 is a Harvard architecture, single chip microcontroller (µC) which was developed by Intel in 1980 for use in embedded systems. It was popular in the 1980s and early 1990s, but today it has largely been superseded by a vast range of enhanced devices with 8051-compatible processor cores that are manufactured by more than 20 independent manufacturers including Atmel, Infineon Technologies and Maxim Integrated Products.

8051 is an 8-bit processor, meaning that the CPU can work on only 8 bits of data at a time. Data larger than 8 bits has to be broken into 8-bit pieces to be processed by the CPU. 8051 is available in different memory types such as UV-EPROM, Flash and NV-RAM.

The microcontroller used in this project is AT89C51. Atmel Corporation introduced this 89C51 microcontroller. This microcontroller belongs to 8051 family. This microcontroller had 128 bytes of RAM, 4K bytes of on-chip ROM, two timers, one serial port and four ports (each 8-bits wide) all on a single chip. AT89C51 is Flash type 8051.

The present project is implemented on Keil Uvision. In order to program the device, Proload tool has been used to burn the program onto the microcontroller.

The features, pin description of the microcontroller and the software tools used are discussed in the following sections.

3.2 FEATURES OF AT89C51:

- 4K Bytes of Re-programmable Flash Memory.

- RAM is 128 bytes.

- 2.7V to 6V Operating Range.

- Fully Static Operation: 0 Hz to 24 MHz.

- Two-level Program Memory Lock.

- 128 x 8-bit Internal RAM.

- 32 Programmable I/O Lines.

- Two 16-bit Timer/Counters.

- Six Interrupt Sources.

- Programmable Serial UART Channel.

- Low-power Idle and Power-down Modes.

3.3 DESCRIPTION:

The AT89C51 is a low-voltage, high-performance CMOS 8-bit microcomputer with 4K bytes of Flash programmable memory. The device is manufactured using Atmel’s high-density nonvolatile memory technology and is compatible with the industry-standard MCS-51 instruction set. By combining a versatile 8-bit CPU with Flash on a monolithic chip, the Atmel AT89C51 is a powerful microcomputer, which provides a highly flexible and cost-effective solution to many embedded control applications.

In addition, the AT89C51 is designed with static logic for operation down to zero frequency and supports two software selectable power saving modes. The Idle Mode stops the CPU while allowing the RAM, timer/counters, serial port and interrupt system to continue functioning. The power-down mode saves the RAM contents but freezes the oscillator disabling all other chip functions until the next hardware reset.

Fig 3.1 Pin diagram

PIN DESCRIPTION:

3.3.1 Supply Vcc:

Pin 40 provides supply voltage to the chip. The voltage source is +5V.

3.3.2 GND:

Pin 20 is the ground.

3.3.3 XTAL1 and XTAL2:

XTAL1 and XTAL2 are the input and output, respectively, of an inverting amplifier that can be configured for use as an on-chip oscillator, as shown in Figure 11. Either a quartz crystal or ceramic resonator may be used. To drive the device from an external clock source, XTAL2 should be left unconnected while XTAL1 is driven, as shown in the below figure. There are no requirements on the duty cycle of the external clock signal, since the input to the internal clocking circuitry is through a divide-by-two flip-flop, but minimum and maximum voltage high and low time specifications must be observed.

Fig: 3.2  Oscillator Connections

C1, C2 = 30 pF ± 10 pF for Crystals

= 40 pF ± 10 pF for Ceramic Resonators

Fig: 3.3 External Clock Drive Configuration

3.3.4 RESET:

Pin9 is the reset pin. It is an input and is active high. Upon applying a high pulse to this pin, the microcontroller will reset and terminate all the activities. This is often referred to as a power-on reset.

3.3.5 EA (External access):

Pin 31 is EA. It is an active low signal. It is an input pin and must be connected to either Vcc or GND but it cannot be left unconnected.

The 8051 family members all come with on-chip ROM to store programs. In such cases, the EA pin is connected to Vcc. If the code is stored on an external ROM, the EA pin must be connected to GND to indicate that the code is stored externally.

3.3.6 PSEN (Program store enable):

This is an output pin.

3.3.7 ALE (Address latch enable):

This is an output pin and is active high.

3.3.8 Ports 0, 1, 2 and 3:

The four ports P0, P1, P2 and P3 each use 8 pins, making them 8-bit ports.  All the ports upon RESET are configured as input, since P0-P3 have value FFH on them.

3.3.9 Port 0(P0):

Port 0 is also designated as AD0-AD7, allowing it to be used for both address and data. ALE indicates if P0 has address or data. When ALE=0, it provides data D0-D7, but when ALE=1, it has address A0-A7. Therefore, ALE is used for demultiplexing address and data with the help of an internal latch.

When there is no external memory connection, the pins of P0 must be connected to a 10K-ohm pull-up resistor. This is due to the fact that P0 is an open drain. With external pull-up resistors connected to P0, it can be used as a simple I/O, just like P1 and P2. But the ports P1, P2 and P3 do not need any pull-up resistors since they already have pull-up resistors internally. Upon reset, ports P1, P2 and P3 are configured as input ports.

3.3.10 Port 1 and Port 2:

With no external memory connection, both P1 and P2 are used as simple I/O. With external memory connections, port 2 must be used along with P0 to provide the 16-bit address for the external memory. Port 2 is designated as A8-A15 indicating its dual function. While P0 provides the lower 8 bits via A0-A7, it is the job of P2 to provide bits A8-A15 of the address.

3.3.11 Port 3:

Port 3 occupies a total of 8 pins, pins 10 through 17. It can be used as input or output. P3 does not need any pull-up resistors, the same as port 1 and port 2. Port 3 has an additional function of providing some extremely important signals such as interrupts.

Table: Port 3 Alternate Functions

3.3.12 Machine cycle for the 8051:

The CPU takes a certain number of clock cycles to execute an instruction. In the 8051 family, these clock cycles are referred to as machine cycles. The length of the machine cycle depends on the frequency of the crystal oscillator. The crystal oscillator, along with on-chip circuitry, provides the clock source for the 8051 CPU. The frequency can vary from 4 MHz to 30 MHz, depending upon the chip rating and manufacturer. But the exact frequency of 11.0592 MHz crystal oscillator is used to make the 8051 based system compatible with the serial port of the IBM PC.

In the original version of 8051, one machine cycle lasts 12 oscillator periods. Therefore, to calculate the machine cycle for the 8051, the calculation is made as 1/12 of the crystal frequency and its inverse is taken .The assembly language program is written and this program has to be dumped into the microcontroller for the hardware kit to function according to the software. The program dumped in the microcontroller is stored in the Flash memory in the microcontroller. Before that, this Flash memory has to be programmed.

3.4 BLOCK  DIAGRAM:

Fig 3.2      BloFig 3.4. Block Diagram of AT89S52

3.5 Summary:

By close observation about this chapter we have discussed about  the Micro Controllers and their use in this project.

4. PROGRAMMING THE FLASH

4.1 INTRODUCTION:

The AT89C51 is normally shipped with the on-chip Flash memory array in the erased state (that is, contents = FFH) and ready to be programmed. The programming interface accepts either a high-voltage (12-volt) or a low-voltage (VCC) program enable signal. The low-voltage programming mode provides a convenient way to program the AT89C51 inside the user’s system, while the high-voltage programming mode is compatible with conventional third party Flash or EPROM programmers. The AT89C51 is shipped with either the high-voltage or low-voltage programming mode enabled. The respective top-side marking and device signature codes are listed in the following table.

Table 4.1 Top side marking and device signature

The AT89C51 code memory array is programmed byte-byte in either programming mode. To program any nonblank byte in the on-chip Flash Memory, the entire memory must be erased using the Chip Erase Mode.

4.2 PROGRAMMING ALGORITHM:

Before programming the AT89C51, the address, data and control signals should be set up according to the Flash programming mode table. To program the AT89C51, the following steps should be considered:

1. Input the desired memory location on the address lines.

2. Input the appropriate data byte on the data lines.

3. Activate the correct combination of control signals.

4. Raise EA/VPP to 12V for the high-voltage programming mode.

5. Pulse ALE/PROG once to program a byte in the Flash array or the lock bits. The byte-write cycle is self-timed and typically takes no more than 1.5 ms.

Repeat steps 1 through 5, changing the address and data for the entire array or until the end of the object file is reached.

4.2.1Data Polling:

The AT89C51 features Data Polling to indicate the end of a write cycle. During a write cycle, an attempted read of the last byte written will result in the complement of the written datum on PO.7. Once the write cycle has been completed, true data are valid on all outputs, and the next cycle may begin. Data Polling may begin any time after a write cycle has been initiated.

4.2.2 Ready/Busy:

The progress of byte programming can also be monitored by the RDY/BSY output signal. P3.4 is pulled low after ALE goes high during programming to indicate BUSY. P3.4 is pulled high again when programming is done to indicate READY.

4.2.3 Chip Erase:

The entire Flash array is erased electrically by using the proper combination of control signals and by holding ALE/PROG low for 10 ms. The code array is written with all “1”s. The chip erase operation must be executed before the code memory can be re-programmed.

4.2.4 Reading the Signature Bytes:

The signature bytes are read by the same procedure as a normal verification of locations 030H, 031H, and 032H, except that P3.6 and P3.7 must be pulled to a logic low. The values returned are as follows.

(030H) = 1EH indicates manufactured by Atmel

(031H) = 51H indicates 89C51

(032H) = FFH indicates 12V programming

(032H) = 05H indicates 5V programming

4.2.5 Programming Interface:

Every code byte in the Flash array can be written and the entire array can be erased by using the appropriate combination of control signals. The write operation cycle is self timed and once initiated, will automatically time itself to completion. All major programming vendors offer worldwide support for the Atmel microcontroller series.

Fig: 4.1 Flash Programming Modes

Fig:4.2 Programming the Flash	                                        Fig:4.3 Verifying the Flash

4.3 SOFTWARES USED:

4.3.1 KEIL COMPILER:

Keil compiler is software used where the machine language code is written and compiled. After compilation, the machine source code is converted into hex code which is to be dumped into the microcontroller for further processing. Keil compiler also supports C language code.

4.3.2 PROLOAD:

Proload is software which accepts only hex files. Once the machine code is converted into hex code, that hex code has to be dumped into the microcontroller and this is done by the Proload. Proload is a programmer which itself contains a microcontroller in it other than the one which is to be programmed. This microcontroller has a program in it written in such a way that it accepts the hex file from the keil compiler and dumps this hex file into the microcontroller which is to be programmed. As the proload programmer kit requires power supply to be operated, this power supply is given from the power supply circuit designed above. It should be noted that this programmer kit contains a power supply section in the board itself but in order to switch on that power supply, a source is required. Thus this is accomplished from the power supply board with an output of 12volts.

4.4 LIQUID CRYSTAL DISPLAY:

LCD stands for Liquid Crystal Display. LCD is finding wide spread use replacing LEDs (seven segment LEDs or other multi segment LEDs) because of the following reasons:

- The declining prices of LCDs.

- The ability to display numbers, characters and graphics. This is in contrast to LEDs, which are limited to numbers and  a few characters.

- Incorporation of a refreshing controller into the LCD, thereby relieving the CPU of the task of refreshing the LCD. In contrast, the LED must be refreshed by the CPU to keep displaying the data.

- Ease of programming for characters and graphics.

These components are “specialized” for being used with the microcontrollers, which means that they cannot be activated by standard IC circuits. They are used for writing different messages on a miniature LCD.

Fig 4.4 LCD Display

A model described here is for its low price and great possibilities most frequently used in practice. It is based on the HD44780 microcontroller (Hitachi) and can display messages in two lines with 16 characters each . It displays all the alphabets, Greek letters, punctuation marks, mathematical symbols etc. In addition, it is possible to display symbols that user makes up on its own. Automatic shifting message on display (shift left and right), appearance of the pointer, backlight etc. are considered as useful characteristics.

4.5 PIN FUNCTIONS:

There are pins along one side of the small printed board used for connection to the microcontroller. There are total of 14 pins marked with numbers (16 in case the background light is built in). Their function is described in the table below:

4.5.1 LCD screen:

LCD screen consists of two lines with 16 characters each. Each character consists of 5x7 dot matrix. Contrast on display depends on the power supply voltage and whether messages are displayed in one or two lines. For that reason, variable voltage 0-Vdd is applied on pin marked as Vee. Trimmer potentiometer is usually used for that purpose. Some versions of displays have built in backlight (blue or green diodes). When used during operating, a resistor for current limitation should be used (like with any LE diode).

Fig 4.5 LCD display panel

4.6 LCD BASIC COMMANDS:

All data transferred to LCD through outputs D0-D7 will be interpreted as commands or as data, which depends on logic state on pin RS:

RS = 1 - Bits D0 - D7 are addresses of characters that should be displayed. Built in processor addresses built in “map of characters” and displays corresponding symbols. Displaying position is determined by DDRAM address. This address is either previously defined or the address of previously transferred character is automatically incremented.

| RS = 0 - Bits D0 - D7 are commands which determine display mode. List of commands for lcd: Command | RS | RW | D7 | D6 | D5 | D4 | D3 | D2 | D1 | D0 | Execution Time |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Clear display | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.64mS |
| Cursor home | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | x | 1.64mS |
| Entry mode set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | I/D | S | 40uS |
| Display on/off control | 0 | 0 | 0 | 0 | 0 | 0 | 1 | D | U | B | 40uS |
| Cursor/Display Shift | 0 | 0 | 0 | 0 | 0 | 1 | D/C | R/L | x | x | 40uS |
| Function set | 0 | 0 | 0 | 0 | 1 | DL | N | F | x | x | 40uS |
| Set CGRAM address | 0 | 0 | 0 | 1 | CGRAM address |  |  |  |  |  | 40uS |
| Set DDRAM address | 0 | 0 | 1 | DDRAM address |  |  |  |  |  |  | 40uS |
| Read “BUSY” flag (BF) | 0 | 1 | BF | DDRAM address |  |  |  |  |  |  | - |
| Write to CGRAM or DDRAM | 1 | 0 | D7 | D6 | D5 | D4 | D3 | D2 | D1 | D0 | 40uS |
| Read from CGRAM or DDRAM | 1 | 1 | D7 | D6 | D5 | D4 | D3 | D2 | D1 | D0 | 40uS |

Increment (by 1)     			    R/L 1 = Shift right

0 = Decrement (by 1)           		    0 = Shift left

S 1 = Display shift on          		    DL 1 = 8-bit interface

0 = Display shift off             		     0 = 4-bit interface

D 1 = Display on              		    N 1 = Display in two lines

0 = Display off                   		     0 = Display in one line

U 1 = Cursor on                		    F 1 = Character format 5x10 dots

0 = Cursor off                     	   	     0 = Character format 5x7 dots

B 1 = Cursor blink on            		    D/C 1 = Display shift

0 = Cursor blink off               	       0 = Cursor shift

4.6.1 LCD Connection:

Depending on how many lines are used for connection to the microcontroller, there are 8- bit and 4-bit LCD modes. The appropriate mode is determined at the beginning of the process in a phase called “initialization”. In the first case, the data are transferred through outputs D0-D7 as it has been already explained. In case of 4-bit LED mode, for the sake of saving valuable I/O pins of the microcontroller, there are only 4 higher bits (D4-D7) used for communication, while other may be left unconnected.

Consequently, each data is sent to LCD in two steps: four higher bits are sent first (that normally would be sent through lines D4-D7), four lower bits are sent afterwards. With the help of initialization, LCD will correctly connect and interpret each data received. Besides, with regards to the fact that data are rarely read from LCD (data mainly are transferred from microcontroller to LCD) one more I/O pin may be saved by simple connecting R/W pin to the Ground. Such saving has its price. Even though message displaying will be normally performed, it will not be possible to read from busy flag since it is not possible to read from display.

4.6.2 LCD Initialization:

Once the power supply is turned on, LCD is automatically cleared. This process lasts for approximately 15mS. After that, display is ready to operate. The mode of operating is set by default. This means that:

1. Display is cleared

2. Mode

DL = 1 Communication through 8-bit interface

N = 0 Messages are displayed in one line

F = 0 Character font 5 x 8 dots

3. Display/Cursor on/off

D = 0 Display off

U = 0 Cursor off

B = 0 Cursor blink off

4. Character entry

ID = 1 Addresses on display are automatically incremented by 1

S = 0 Display shift off

Automatic reset is mainly performed without any problems. Mainly but not always! If for any reason power supply voltage does not reach full value in the course of 10mS, display will start perform completely unpredictably? If voltage supply unit can not meet this condition or if it is needed to provide completely safe operating, the process of initialization by which a new reset enabling display to operate normally must be applied.Algorithm according to the initialization is being performed depends on whether connection to the microcontroller is through 4- or 8-bit interface. All left over to be done after that is to give basic commands and of course- to display messages.

Fig: 4.6 Procedure on 8-bit initialization.

Fig 4.7 LCD interfacing with microcontroller

4.8 CONTRAST CONTROL:

To have a clear view of the characters on the LCD, contrast should be adjusted. To adjust the contrast, the voltage should be varied. For this, a preset is used which can behave like a variable voltage device. As the voltage of this preset is varied, the contrast of the LCD can be adjusted.

Fig: 4.8 Variable resistor

4.8.1 Potentiometer:

Variable resistors used as potentiometers have all three terminals connected.

This arrangement is normally used to vary voltage, for example to set the switching point of a circuit with a sensor, or control the volume (loudness) in an amplifier circuit. If the terminals at the ends of the track are connected across the power supply, then the wiper terminal will provide a voltage which can be varied from zero up to the maximum of the supply.

Fig.:5.8 Potentiometer Symbol

4.8.2 Presets:

These are miniature versions of the standard variable resistor. They are designed to be mounted directly onto the circuit board and adjusted only when the circuit is built. For example to set the frequency of an alarm tone or the sensitivity of a light-sensitive circuit. A small screwdriver or similar tool is required to adjust presets.

Presets are much cheaper than standard variable resistors so they are sometimes used in projects where a standard variable resistor would normally be used.

Multiturn presets are used where very precise adjustments must be made. The screw must be turned many times (10+) to move the slider from one end of the track to the other, giving very fine control.

Fig:5.10 Preset

Fig:5.9 Preset Symbol

4.9 Summary:

So by close observation of this chapter we understood about Programming the Flash.

5. AUTOMATIC POWER FACTOR CONTROLLER

Fig 5.1 Block Diagram of APFC

5.1 POWER SUPPLY

The input to the circuit is applied from the regulated power supply. The a.c. input i.e., 230V from the mains supply is step down by the transformer to 12V and is fed to a rectifier. The output obtained from the rectifier is a pulsating d.c voltage. So in order to get a pure d.c voltage, the output voltage from the rectifier is fed to a filter to remove any a.c components present even after rectification. Now, this voltage is given to a voltage regulator to obtain a pure constant dc voltage.

230V AC

50Hz

D.C Output

Regulator

# Filter

Bridge Rectifier

Step down transformer

Fig: 5.2 Power supply

5.1.1 Transformer:

Usually, DC voltages are required to operate various electronic equipment and these voltages are 5V, 9V or 12V. But these voltages cannot be obtained directly. Thus the a.c input available at the mains supply i.e., 230V is to be brought down to the required voltage level. This is done by a transformer. Thus, a step down transformer is employed to decrease the voltage to a required level.

5.1.2 Rectifier:

The output from the transformer is fed to the rectifier. It converts A.C. into pulsating D.C. The rectifier may be a half wave or a full wave rectifier. In this project, a bridge rectifier is used because of its merits like good stability and full wave rectification.

5.1.3 Filter:

Capacitive filter is used in this project. It removes the ripples from the output of rectifier and smoothens the D.C. Output   received from this filter is constant until the mains voltage and load is maintained constant. However, if either of the two is varied, D.C. voltage received at this point changes. Therefore a regulator is applied at the output stage.

5.1.4 Voltage regulator:

As the name itself implies, it regulates the input applied to it. A voltage regulator is an electrical regulator designed to automatically maintain a constant voltage level. In this project, power supply of 5V and 12V are required. In order to obtain these voltage levels, 7805 and 7812 voltage regulators are to be used. The first number 78 represents positive supply and the numbers 05, 12 represent the required output voltage levels.

5.2 RELAYS:

A relay is an electrically controllable switch widely used in industrial controls, automobiles and appliances.The relay allows the isolation of two separate sections of a system with two different voltage sources i.e., a small amount of voltage/current on one side can handle a large amount of voltage/current on the other side but there is no chance that these two voltages mix up.

Fig:5.3 Circuit symbol of a relay

5.2.1 OPERATION:

When current flows through the coil, a magnetic field are created around the coil i.e., the coil is energized. This causes the armature to be attracted to the coil. The armature’s contact acts like a switch and closes or opens the circuit. When the coil is not energized, a spring pulls the armature to its normal state of open or closed. There are all types of relays for all kinds of applications.

Fig:5.4  Relay Operation and use of protection diodes

Transistors and ICs must be protected from the brief high voltage 'spike' produced when the relay coil is switched off. The above diagram shows how a signal diode (eg 1N4148) is connected across the relay coil to provide this protection. The diode is connected 'backwards' so that it will normally not conduct. Conduction occurs only when the relay coil is switched off, at this moment the current tries to flow continuously through the coil and it is safely diverted through the diode. Without the diode no current could flow and the coil would produce a damaging high voltage 'spike' in its attempt to keep the current flowing.

In choosing a relay, the following characteristics need to be considered:

1. The contacts can be normally open (NO) or normally closed (NC). In the NC type, the contacts are closed when the coil is not energized. In the NO type, the contacts are closed when the coil is energized.

2. There can be one or more contacts. i.e., different types like SPST (single pole single throw), SPDT (single pole double throw) and DPDT (double pole double throw) relay.

3. The voltage and current required to energize the coil. The voltage can vary from a few volts to 50 volts, while the current can be from a few milliamps to 20milliamps. The relay has a minimum voltage, below which the coil will not be energized. This minimum voltage is called the “pull-in” voltage.

4. The minimum DC/AC voltage and current that can be handled by the contacts. This is in the range of a few volts to hundreds of volts, while the current can be from a few amps to 40A or more, depending on the relay.

5.2.2 HOW TO CONTROL THE RELAY:

For the relay to be operated, coil should be energized i.e., current should flow through the coil. Thus, a voltage difference should exist between the terminals for the current to flow through the coil. One terminal of the coil will be connected to the power supply (5V) and the other terminal is connected to the microcontroller. Thus when a 0 (zero) is applied to the other terminal of the relay, voltage difference exists and the current flows and thus the coil will be energized. Therefore, the relay will be operated and the load will be applied.

But, the microcontroller cannot provide the sufficient current required for the relay coil to be energized. Therefore, a power transistor or an ULN driver should be connected between the microcontroller and the relay. Power transistor can be connected as the current driver but if more number of relays are required to operate the loads, ULN driver is the best choice.

5.3 RELAY INTERFACING WITH THE MICROCONTROLLER:

AT 89C51

P1.0

DRIVER

CIRCUIT

RELAY

LOAD

Fig 5.5 Relay interfacing with microcontroller

5.4 TRANSISTOR DRIVER CIRCUIT:

An SPDT relay consists of five pins, two for the magnetic coil, one as the common terminal and the last pins as normally connected pin and normally closed pin. When the current flows through this coil, the coil gets energized. Initially when the coil is not energized, there will be a connection between the common terminal and normally closed pin. But when the coil is energized, this connection breaks and a new connection between the common terminal and normally open pin will be established. Thus when there is an input from the microcontroller to the relay, the relay will be switched on. Thus when the relay is on, it can drive the loads connected between the common terminal and normally open pin. Therefore, the relay takes 5V from the microcontroller and drives the loads which consume high currents. Thus the relay acts as an isolation device.

Digital systems and microcontroller pins lack sufficient current to drive the circuits like relays and buzzer which consume high powers. While the relay’s coil needs around 10milli amps to be energized, the microcontroller’s pin can provide a maximum of 1-2milli amps current. For this reason, a driver such as a power transistor is placed in between the microcontroller and the relay.

5.5 TRANSISTOR DRIVER INTERFACING WITH MICROCONTROLLER:

AT89C51

P1.0

Vcc

RELAY

GROUND

Fig 5.6 Driver circuit interfacing with microcontroller

The operation of this circuit is as follows:

The input to the base of the transistor is applied from the microcontroller port pin P1.0. The transistor will be switched on when the base to emitter voltage is greater than 0.7V (cut-in voltage). Thus when the voltage applied to the pin P1.0 is high i.e., P1.0=1 (>0.7V), the transistor will be switched on and thus the relay will be ON and the load will be operated.

When the voltage at the pin P1.0 is low i.e., P1.0=0 (<0.7V) the transistor will be in off state and the relay will be OFF. Thus the transistor acts like a current driver to operate the relay accordingly

AT 89C51

P1.0

5.6 BUZZER INTERFACING WITH THE MICROCONTROLLER:

DRIVER

CIRCUIT

BUZZER

5.7 Buzzer interfacing with Microcontroller

5.7. Summary:

In this chapter we have discussed about the Automatic Power Factor Controller(APFC) and APFC block diagram.

6. COMPONENT SPECIFICATIONS

6.1 PNP GENERAL PURPOSE TRANSISTORS BC547, 557,567

###### 6.1.2 FEATURES:

· Low current (max. 100 mA)

· Low voltage (max. 65 V).

6.1.3 APPLICATIONS:

· General purpose switching and amplification.

6.1.4 DESCRIPTION:

PNP transistor in a TO-92; SOT54 plastic package.

Fig 6.1 PNP transistor

6.1.5 LIMITING VALUES:

In accordance with the Absolute Maximum Rating System (IEC 134).

SYMBOL PARAMETER CONDITIONS MIN. MAX. UNIT

VCBO collector-base voltage open emitter

BC556 - -80 V

BC557 - -50 V

VCEO collector-emitter voltage open base

BC556 - -65 V

BC557 - -45 V

VEBO emitter-base voltage open collector - -5 V

IC collector current (DC) - -100 mA

ICM peak collector current - -200 mA

IBM peak base current - -200 mA

Ptot total power dissipation Tamb £ 25 °C - 500 mW

Tstg storage temperature -65 +150 °C

Tj junction temperature - 150 °C

Tamb operating ambient temperature -65 +150 °C

6.2 NPN GENERAL PURPOSE TRANSISTORS BC546; BC547

6.2.1 FEATURES:

· Low current (max. 100 mA)

· Low voltage (max. 65 V).

6.2.2 APPLICATIONS:

· General purpose switching and amplification.

6.2.3 DESCRIPTION:

NPN transistor in a TO-92; SOT54 plastic package

Fig 6.2 NPN Transistor

6.2.4 LIMITING VALUES:

In accordance with the Absolute Maximum Rating System (IEC 134).

1. Transistor mounted on an FR4 printed-circuit board.

SYMBOL PARAMETER CONDITIONS MIN. MAX. UNIT

VCBO collector-base voltage open emitter

BC546 - 80 V

BC547 - 50 V

VCEO collector-emitter voltage open base

BC546 - 65 V

BC547 - 45 V

VEBO emitter-base voltage open collector

BC546 - 6 V

BC547 - 6 V

IC collector current (DC) - 100 mA

ICM peak collector current - 200 mA

IBM peak base current - 200 mA

Ptot total power dissipation Tamb £ 25 °C; note 1 - 500 mW

Tstg storage temperature -65 +150 °C

Tj junction temperature - 150 °C

Tamb operating ambient temperature -65 +150 °C

6.3 IN 4007 Diode :

6.3.1 Features:

- Diffused Junction

- High Current Capability and Low Forward

- Voltage Drop

- Surge Overload Rating to 30A Peak

- Low Reverse Leakage Current

- Plastic Material: UL Flammability

- Classification Rating 94V-0

6.3.2 APPLICATION:

- Single phase, half wave, 50Hz, and resistive or inductive load.

- For capacitive load, derate current by 20%.

6.3.3 Forward Voltage Drop, Vf:

Notice that the diode conducts a small current in the forward direction up to a threshold voltage, 0.3 for germanium and 0.7 for silicon ,after that it conducts as we might expect. The forward voltage drop, Vf, is specified at a forward current, If.

6.3.4 Leakage current:

In the reverse direction there is a small leakage current up until the reverse breakdown voltage is reached. This leakage is undesirable, obviously the lower the better, and is specified at a voltage less the than breakdown; diodes are intended to operate below their breakdown voltage.

6.3.5 Current Rating:

The current rating of a diode is determined primarily by the size of the diode chip, and both the material and configuration of the package, Average Current is used, not RMS current. A larger chip and package of high thermal conductivity are both conducive to a higher current rating.

6.3.6 Switching:

The switching speed of a diode depends upon its construction and fabrication. In general the smaller the chip the faster it switches, other things being equal. The reverse recovery time, Trr, is usually the limiting parameter, Trr is the time it takes a diode to switch from on to off.

# Fig 6.3 Characteristics’ of diode

6.4 7805&7812 Voltage Regulator:

7805 & 7812  is an integrated three-terminal positive fixed linear voltage regulator. It supports an input voltage of 10 volts to 35 volts and output voltage of 5 volts. It has a current rating of 1 amp although lower current models are available. Its output voltage is fixed at 5.0V. The 7805 also has a built-in current limiter as a safety feature. 7805 is manufactured by many companies, including National Semiconductors and Fairchild Semiconductors.

The 7805 will automatically reduce output current if it gets too hot.The last two digits represent the voltage; for instance, the 7812 is a 12-volt regulator. The 78xx series of regulators is designed to work in complement with the 79xx series of negative voltage regulators in systems that provide both positive and negative regulated voltages, since the 78xx series can't regulate negative voltages in such a system.

The 7805 & 7812 is one of the most common and well-known of the 78xx series regulators, as it's small component count and medium-power regulated 5V make it useful for powering TTL devices.

| SPECIFICATIONS | IC 7805 | IC 7812 |
| --- | --- | --- |
| Vout | 5V | 12V |
| Vin - Vout Difference | 5V - 20V | 5V - 20V |
| Operation Ambient Tmp | 0 - 125°C | 0 - 125°C |
| Output Imax | 1A | 1A |

Table 6.1 Specifications of various voltage regulators

6.5 Summary:

In this chapter we have discussed about the different components used and their specifications.

7. LOAD BANKS

7.1 Introduction

A load bank is a device which develops an electric load, applies the load to an electrical power source and converts or dissipates the resultant power output of the source.

The purpose of a load bank is to accurately mimic the operational or “real” load that a power source will see in actual application. However, unlike the “real” load, which is likely to be dispersed, unpredictable and random in value, a load bank provides a contained, organized and fully controllable load.

Consequently, a load bank can be further defined as a self-contained, unitized, systematic device that includes load elements with control and accessory devices required for operation.

Whereas the “real” load is served by the power source and uses the energy output of the source for some productive purpose, the load bank serves the power source, using its energy output to test, support or protect the power source.

## 7.2 Applications:

Load banks are used in a variety of applications, including:

- Factory testing of engine  diesel  generator sets

- To reduce wet stackingproblems

- Periodic exercising of stand-by engine generator sets

- UPS system testing

- Battery system testing

- Ground power testing

- Load optimization in prime power applications

- Factory testing of  turbine

- Remove carbon build-up on the piston heads

## 7.3 Types of load bank:

The three most common types of load banks are resistive load banks, reactive load banks, and capacitive load banks.

### 7.3.1 Resistive load bank:

A resistive load bank, the most common type, provides equivalent loading of both generor and primemover. That is, for each kilowatt load applied to the generator by the load bank, an equal amount of load is applied to the prime mover by the generator. A resistive load bank, therefore, removes energy from the complete system: load bank from generator—generator from prime mover—prime mover from fuel. Additional energy is removed as a consequence of resistive load bank operation: waste heat from coolant, exhaust and generator losses and energy consumed by accessory devices. A resistive load bank impacts upon all aspects of a generating system.

The “load” of a resistive load bank is created by the conversion of electrical energy to heat via high-current resistors such as grid resistors. This heat must be dissipated from the load bank, either by air or by water, by forced means or convection.

In a testing system, a resistive load simulates real-life resistive loads, such as incandescent and heating loads as well as the resistive or unity power factor component of magnetic (motors, transformers) loads.

### 7.3.2 Reactive load bank:

A “reactive” load includes inductive (lagging  power factor) and/or capacitive (leading power factor) loads.

Inductive loads, the more common type, consist of iron-core reactive elements which, when used in conjunction with a resistive load bank, create a lagging power factor load. Typically, the inductive load will be rated at a numeric value 75% that of the corresponding resistive load such that when applied together a resultant 0.8 power factor load is provided. That is to say, for each 100 kW of resistive load, 75 KVAR of inductive load is provided.

Other ratios are possible to obtain other power factor ratings. Inductive loads are used to simulate real-life mixed commercial loads consisting of lighting, heating, motors, transformers, etc. With a resistive/inductive load bank, full power system testing is possible, given the impact of reactive currents on generator/voltage regulator performance as well as effects on conductors and switchgear.

### 7.3.3 Capacitive load bank

A capacitive load bank is similar to a reactive load bank in rating and purpose, except leading power factor loads are created. These loads simulate certain electronic or non-linear loads typical of telecommunications, computer or UPS industries

7.4 Applications of APFC:

- APFC are used in industrial applications such as induction motors , transformers etc

- This is also used in air conditioners , fans

- It is also applicable in industrial heating furnaces, arc lamps

7.5 Advantages of APFC:

- The KW capacity of the prime movers is better utilized

- This increases the kilowatt capacity of the alternators

- The efficiency of plant is increased

- The overall cost per unit decreases

- The regulation of the  lines is increased

7.6 Summary:

In this chapter we have discussed about the Load Banks and the Applications and Advantages of APFC.

APPENDIX-A

8. CONCLUSIONS

8.1. CONCLUSIONS:

By observing all aspects of the power factor it is clear that power factor is the most significant part for the utility Company as well as for the consumer. Utility company rid of from the power losses while the consumer free from low power factor penalty charges.

By installing suitably sized power capacitors into the circuit the Power Factor is improved and the value becomes nearer to 0.9 to 0.95 thus minimising line losses and improving the efficiency of a plan.

By using this APFC system the efficiency of the system is highly increased.

8.2. FUTURE SCOPE OF THE WORK:

The automotive power factor correction using capacitive load banks is very efficient as it reduces the cost by decreasing the power drawn from the supply and as it operates automatically men are not required to operate this ,so this Automated Power factor Correction using capacitive load banks must be used for the industries purpose in the future.

REFERENCES

[1]. IEEE PAPERS

[2]. "Power Supply Design Principles by “Ben Schramm”.

[3]. www.pscpower.com

[4]. http://www.onsemi.com

[5]. http://electrical-engineering-portal.com

l