NANO SCIENCE

IN

SOLAR ENERGY

ABSTRACT

The objective of this paper is to cover latest and emerging technologies, in the field of solar energy. What is the need for the renewable energy? What is the role of the solar energy in renewable energy sources? At the present time, solar power is not a competitive fuel for supplying electricity to the grid. But, an economic model developed by the U.S. National renewable energy laboratory (NREL) forecasts that solar power costs could drop 20% every time output doubles.

It is believed that the cost of solar power will drop approximately two cent a KW-hour. If there is enough foresight to develop the technology, then solar-derived hydrogen could become a competitive feedstock in petrochemicals. This would be a dramatic shift that would revolutionize economic development.

Nano-technology and its application have captured the worldwide market. The nano-materials, which are developing using this technology, can be incorporated into the devices so that solar energy can be converted or generated more effectively. Nano-materials have the potential to change the way we generate, deliver and use energy.

1. INTRODUCTION

1.1 ENERGY CHALLENGES

In today’s economy, reliable, efficient, pollution free, abundant energy requirement is the major challenge. Our major economy needs, in terms of energy comprises of transportation sector, residential and commercial sector. We are heavily depending on the non-renewable sources for our energy needs. Not only these resources will deplete over time, they are also the major source of pollution, which is another issues in front of the economy. To face these challenges there’s needed to come up with the new technology that helps in reducing the problems and also improves our economy.

1.2 LIST OF CONVENTIONAL ENERGY RESOURCES

The tabulation below shows various conventional energy resources. Source of energy demands, reasons for its decline.

| SOURCE | FORMATION | REASON FOR DECLINE |
| --- | --- | --- |
| Coal | Formed from decayed swamp plant matter that cannot decompose in the low oxygen. | - Drives turbine to generate electricity. - Fire cement and lime kills. - Steam engines. - Extracting iron. - Cooking. |
| Petroleum | Formed by decaying under pressure of billons of microscopic plants in sedimentary rocks. | - Transportation has increased. - Used in lubricant, plastics, and fertilizers. |
| Natural gas | Formed by converting organic material into natural gas due to high pressure. | - Mostly in power generation. - Previously, burning it of often wasted it. |
| Hydro electric | Generation of power using the gravitational flow of water. | - Irrigation. - Domestic purpose. - Industry. |
| Nuclear | This is fission of uranium to produce energy. Heat is used to boil water and activates steam turbines. | - Waste disposal. - High cost. |

1.3 NEED FOR NON-CONVENTIAL ENERGY RESOURCES

As from the above table it is clear that the conventional energy resource is decaying as the day’s passes.  In order to have a substitute for this conventional energy we supplement it with non-conventional energy. Non-conventional energy are of various forms such as solar, wind, biomass etc, which exist in nature until the earth life period.  In order to use such non-conventional energy in an effective manner various technical processes are being developed.

1.4 EMERGING TECHNOLOGY

To conserve and establish the new renewable sources, many countries are trying hard to develop new projects and harness the new renewable forms of energy. These countries are trying to trap the energy from relatively unexplored sectors. Nano-materials and hydrogen fuel cells have the advantage of being smaller and portable. Therefore they   have many more applications.

2. NANO-MATERIALS

There is an active research and development of nano-technology, nano-material, which are of size of a 10-9 meter, offer different chemical and physical properties from the same materials in their normal form. They can be adaptive to new technologies and have the potential use in making more efficient solar cells and catalysts that can be used in hydrogen-powered fuel cells.

Due to small size and excellent conductivity, CNT’S (carbon nano-tubes), can possibly be used as base resource of future electronic devices. CNT cables could be used to make electricity transmission lines, which will give us, large performance improvement over present day power lines.

2.1 INTRODUCTOIN TO SOLAR-ENERGY

Solar energy is an enigma of its own. Based on the current costs of producing solar panels and the rate at which these costs have been dropping, it is evident that solar power would become a major source of power in projection of future energy sources. If the current projections based on the NREL model are correct, solar power could soon be a very competitive source of energy while addressing the problem of producing power without generating carbon dioxide and other effluents. It would not be subject to any kind of risk. It is impossible to embargo the sun. The budget for solar research is around seventy million dollars in the west, and most forecast of source of energy in future give solar a minor role.

2.2 ECONOMICS OF SOLAR

One of the problems with evaluating the economics of solar cells is that many analysts base their analyses on dollar per peak watt. In terms of economics of capital investment, this is not very useful manner to evaluate the economics of solar power.

Solar energy has two major cost components. The cost of the solar panels and the cost of system balance per square meter. Denote these two costs by Cp and Cb. The other key parameters are the efficiency of the solar panel that we will denote as ; the number of KW-hours per square meter per year that are delivered by the sun at the location of the installation ; the rate at which the efficiency of the panel degrades , and the economic life of the project T. The cost of solar power for project c is

Cp+ Cb=0Te−r+δαβcdt----- eq. (1)

Cp+ Cb=   t=1Tαβc11+r)1+δt  ------eq (2)

The term e−δtαβ or the term αβ11+δt is the amount of electricity produced at time t and e−rtcor term c11+rt is the present value of the electricity produced at time t. The cost of solar power is that stream of income whose present value will cover the capital costs. Note that this does not include such elements as profits or cost of transmission. If we solve equation 1 we get

C=Cp+Cbr+δ(αβ1−e−r−δT)) --------eq (3)

If we examine eq (3) we see that cost per peak watt. (Cp/), is not an adequate measure of the cost of solar power. That measure only considers the cost per square of the solar panels, Cp and the efficiency. It ignores some very important variable such as the amount solar energy at a particular location, the interest rate, and the cost of the balance of systems.

Other important variables are the interest rates. If the project has an infinite life, the cost of solar power would be liner with the interest rate. Let c( r) be the cost as a function of the interest rate. The graph below shows the ratio ( r)=(c( r)/c ( 0.5) for =0 and T=20. This is the measure of how much the interest rate increases the cost of solar power for a period of 20 years.

In figure 2, we plot the costs of solar powering using Zweibel’s cost $85.00 at a production volume of 250,000 square meters per years as a function of interest rate. We will assume that the solar panels are 9.5 % (=0.095), that the sun delivers 2500 KW-hours per year (=2500), the panels degrades at a rate of 1% (=0.01), and the project life is 20 years (T=20). The cost of the balance of system is assumed to be 35 dollars per square meter.

If we examine fig 2, we see that if the discount rate used is between 5 to 8%, the cost of solar power runs between 4.5 to 5.5 cents per KW-hours to grid. This is competitive with combined cycle gas plants at a price of gas in the neighborhood of $5 per thousand cubic feet. However, if a rate of return on the project of 12 to 16% is required, the cost of power goes up to 7 to 9 cents KW-hours. At that price, solar power is not competitive with combined cycle generation with natural gas as a feedback fuel when the price of natural gas is in the neighborhood of $5 per thousand cubic feet.

Which is the correct value for the discount rate? Why would the private sector not invest in projects when the rate of return is higher than the cost of capital? At first glance, this seems a paradox. Why would firms pass up projects whose rate of return is greater than their cost of capital? The answer may be that capital is only one of the inputs of firm. There may be other inputs, some of which are not tradable, which results in firm requiring a higher rate of return than the cost of capital. Thus, solar power may be a viable technology if one just considers the opportunity cost of the resources involved as measured by the interest rate. However, with current technology, solar power is not sufficiently profitable for the private sector to make substantial investment in it.

A related problem is that of economic of scale. The marginal cost of producing solar panels is on the order of $30 to $50 a square meter. A study by Zweibel and a model based on data furnished to the authors by first solar suggest that costs in the neighborhood of $85 per square meter are possible with current technology. However, to achieve such costs, it would be necessary to have a plant volume of production of the order  250,000 square meters per year to achieve the necessary economics of scale. This is 25 million peak watts. The U.S market for solar panels last year was 125 Mwp. Thus, at the present time, the volumes necessary to achieve the economics of scale that are needed for solar power to be competitive in supplying power to be the net can be sustained only if there is a demand from such large projects as solar fields. But developing demand in that order of magnitude would require a drop in solar cell costs, creating a chicken-egg problem for the technology.

Solving this dilemma will require leadership and entrepreneurship that is not likely to be forthcoming from the private sector. The private sector is driven by a short-term profit motive and at the present time, there are more attractive, immediate opportunities than solar power.

3.  NANO-TECHNOLOGY FOR SOLAR ENERGY APPLICATION

3.1 Solar Collector and Nano-Technology:

Solar technology has been struck for decades, with only minor incremental improvement in silicon-based solar cells, never achieving more than 30% efficiency ratio for converting sunlight to electricity. However, this malaise in solar technology appears to be coming to an end, due to advancements in nano-technology (building structure on the molecular level).

Recent nano-technology break through in regards to solar have promised new solar cell design capable of capturing a much wider range of solar energy, which would be much more efficient at converting solar energy to electricity (approaching 60% efficiency), more versatile (able to be painted onto just about any surface), and less costly than today’s solar technology. These nano-technology advancements in solar energy technology appear to be finally advancing solar beyond its initial silicon-based.

- Nano-Technology plus plastic electronics: Solar Cells

A new generation of solar cells that combines nano-technology with plastic electronics has been launched with the development of semiconductor-polymer photovoltaic devices by researchers with the U.S. Department of energy’s Lawrence Berkeley National Laboratory (Berkeley lab) and the University of California at Berkeley (UCB). Such hybrid solar cells will be cheaper and easier to make in the same nearly infinite variety of shapes as pure polymers.

Thus by the use of nano-manufacturing can easily increase the effective area and thus reducing the distance traveled by the electron-hole pair to safe.

- Nano-Technology may give plastic solar cells a boost:

RIT researches, led by Ryne Raffaelle, professor of physics and micro system engineering and director of the nano-power research lab, hope to develop and improve polymer solar cell using nano-material additive. Raffaelle and his team will use a thin polymer film that can be rolled out in sheets. The film will contain nano-scale pieces of semiconductor material and single-walled carbon nano-tubes to maximize energy conversion.

4. SCIENTIFIC RESEARCH

Over fifty years, billion of dollars have been spent on fusion research. If commercially priced, electrical power developed by fusion technology would be very inexpensive. In order to use fusion power, it requires at least 2 technical problems to be solved.

(1)  To develop a sustained fusion reaction

(2) How to convert the fusion energy into electricity.

There is, however, one source of fusion power currently available, the SUN. At the distance between the earth and the sun, the sun delivers 1.3 KW per square meter per hour. This is 11,400 KW-hours per square meter per year. Some of the loss is due to the atmosphere; only one KW per hour reaches the earth’s surface. The rest is due to the rotation of earth. Thus, a space based solar plant has factor of 4.5 advantages over a ground based solar plant. However, a space based solar plant can cost no more than 4 times cost of solar plant on earth if it is to be competitive as a source of power. It is very expensive to lift mass to orbit or moon.

One way to get around the cost of lifting solar cells is to build them on moon. Such a project has been proposed. However, even if a process can be designed so that solar cells can be constructed at a price that can compete with an earth-based system, there is still problem of transmitting the power to earth. The analysis that should be made is whether transmitting power from moon to earth is a less expensive than power transmitting from point to point on the earth as the earth turns. It seems plausible that any technology that can transmit power from the moon to the earth can also be used to transmit power from point to point on earth. Further, on earth, there is the possibility of developing land-based nano-wire transmission lines as well as electricity storage based on new materials and nano-technology.

Another strong advantage of an earth-based system is that it will be easier to incorporate technical change. The NREL model of costs projects a 20% reduction in the cost of solar cells for doubling of output of solar cells. Demand is growing at 25% a year. If  we combine these two observations we can fill the need.

The cost of the solar power as a function of the costs of solar panels as projected by the NREL mode; We will assume that the solar panels are 9% efficient, that the sun delivers 2500 KW-hours per year, the panel degrades at a rate of 1% a year, the interest rate is 8% and project life is 20 years. The cost of the balance of system is assumed to be 35 dollars per square meter.

It should be noted that the NREL models does not differentiate between saving due to economics of scale and technical progress. The 25% increases in demand is also based on historical data and cannot take into account threshold effects where the cost of solar power drops to the point where it becomes competitive in new markets. For example, around a price of four cents per KW-hours, large-scale solar fields become very competitive at the current and projected price of electricity. When the cost drops below 2 cents per KW-hour, solar hydrogen may be an economical alternative to natural gas in petrochemicals.

The projected costs of electricity using the NREL model under the assumption that 9% efficient solar panels at eighty-five dollars per meter were available. The cost starts at about 5.8 cents per KW-hour and falls to about 2.6 per KW-hour over a twenty-year period.

The projection is based on current technology and therefore can be considered conservative. Electric power in range of 2.5 to 1.9 cents per KW-hours that does not produce carbon dioxide would be invaluable in solving the energy crisis and the problem of global warming. So we can ask why solar power plays such a small role in future energy projections and why funding of solar research is so small?

There are perhaps several reasons for this lack of understanding of the potential of solar power.

(1) The advocates of solar power have not done a good job in educating policy marker. They think in terms of cost per peak-watt rather than the cost per kilowatt-hour.

(2) There is not a clear understanding of the vast potential availability of solar power. Currently most of the investment in solar power is taking place in Europe and Japan where the sun delivers 900 to 1200 KW-hours per year.

CONCLUSION

The conclusion obtained from the above topic is that we should increase the use of renewable sources of energy and decrease the use of non-renewable resources. Existing renewable resources are well established. It has been seen through the various articles that available renewable energy resources are helping in the production of the other forms of energy, which makes our energy system more strong and economical. Likewise the production of solar energy, from the available sunlight, and its usage is more clean, safe and efficient. They are commercially available and are being utilized. The new upcoming technologies in renewable resources are very promising but a lot more research and infrastructure is required before it can be adapted.

REFERENCES:

1) U.S department of Energy’s national renewable energy,

2) Ahmed.K, “Renewable energy Technologies”,

3) Cody.G and T.Tiedje, (1996),”A learning curve approach to projecting cost and

performance in thin film photovoltaic”.

4) Zweibel.K (1999) ”Issues in thin film PV manufacturing cost reduction, solar energy

materials and solar cells”.